REQUEST FOR QUOTATION: APPOINTMENT OF A QUALIFIED SERVICE PROVIDER TO UNDERTAKE THE SERVICING, INSPECTION, TESTING, REPAIR, AND MAINTENANCE OF THE FIRE PROTECTION SYSTEM AT THE NHBRC SUNNINGHILL OFFICE FOR A PERIOD OF THIRTY-SIX (36) MONTHS

RFQ NO						: NHBRC RFQ 04/07

CLOSING DATE AND TIME			: 21 SEPTEMBER 2026 AT 11H00AM.

PART A

INVITATION TO BID

| YOU ARE HEREBY INVITED TO BID FOR REQUIREMENTS OF THE National Home Builders Registration Council (NHBRC) |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| BID NUMBER: | NHBRC RFQ04/07 |  | CLOSING DATE: |  | 21 SEPTEMBER 2026 |  |  | CLOSING TIME: |  | 11H00AM |
| DESCRIPTION | APPOINTMENT OF A QUALIFIED SERVICE PROVIDER TO UNDERTAKE THE SERVICING, INSPECTION, TESTING, REPAIR, AND MAINTENANCE OF THE FIRE PROTECTION SYSTEM AT THE NHBRC SUNNINGHILL OFFICE FOR A PERIOD OF THIRTY-SIX (36) MONTHS |  |  |  |  |  |  |  |  |  |
| THE SUCCESSFUL BIDDER WILL BE REQUIRED TO FILL IN AND SIGN A WRITTEN CONTRACT FORM (MBD7) OR AGRREMENT OF FORM OF OFFER AND ACCEPTANCE. |  |  |  |  |  |  |  |  |  |  |
| BID RESPONSE DOCUMENTS MAY BE EMAILED TO GODFREYK@NHBRC.ORG.ZA |  |  |  |  |  |  |  |  |  |  |
| SUPPLIER INFORMATION |  |  |  |  |  |  |  |  |  |  |
| NAME OF BIDDER |  |  |  |  |  |  |  |  |  |  |
| POSTAL ADDRESS |  |  |  |  |  |  |  |  |  |  |
| STREET ADDRESS |  |  |  |  |  |  |  |  |  |  |
| TELEPHONE NUMBER |  | CODE |  |  |  |  | NUMBER |  |  |  |
| CELLPHONE NUMBER |  |  |  |  |  |  |  |  |  |  |
| FACSIMILE NUMBER |  | CODE |  |  |  |  | NUMBER |  |  |  |
| E-MAIL ADDRESS |  |  |  |  |  |  |  |  |  |  |
| VAT REGISTRATION NUMBER |  |  |  |  |  |  |  |  |  |  |
| TAX COMPLIANCE STATUS |  | TCS PIN: |  |  |  | OR | CSD No: |  |  |  |
| B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE [TICK APPLICABLE BOX] |  | Yes No |  |  |  | B-BBEE STATUS LEVEL SWORN AFFIDAVIT |  |  | Yes No |  |

| [A B-BBEE STATUS LEVEL VERIFICATION CERTIFICATE/ SWORN AFFIDAVIT (FOR EMES & QSEs) MUST BE SUBMITTED IN ORDER TO QUALIFY FOR PREFERENCE POINTS FOR B-BBEE] |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| - ARE YOU THE ACCREDITED REPRESENTATIVE IN SOUTH AFRICA FOR THE GOODS /SERVICES /WORKS OFFERED? | Yes No [IF YES ENCLOSE PROOF] | ARE YOU A FOREIGN BASED SUPPLIER FOR THE GOODS /SERVICES /WORKS OFFERED? |  | Yes No [IF YES, ANSWER PART B:3] |  |
| - TOTAL NUMBER OF ITEMS OFFERED |  | - TOTAL BID PRICE |  | R |  |
| - SIGNATURE OF BIDDER |  | - DATE |  |  |  |
| - CAPACITY UNDER WHICH THIS BID IS SIGNED |  |  |  |  |  |
| BIDDING PROCEDURE ENQUIRIES MAY BE DIRECTED TO: |  |  | TECHNICAL INFORMATION MAY BE DIRECTED TO: |  |  |
| DEPARTMENT | National Home Builders Registration Council |  | CONTACT PERSON |  | Mr. Andile Nyubatya |
| CONTACT PERSON | Dr Godfrey Khoza and Mr Kabelo Phalane |  | TELEPHONE NUMBER |  | 011 317 0092 |
| TELEPHONE NUMBER | 011 317 0448/0115 |  | FACSIMILE NUMBER |  |  |
| FACSIMILE NUMBER |  |  | E-MAIL ADDRESS |  | Andilen@nhbrc.org.za |
| E-MAIL ADDRESS | godfreyk@nhbrc.org.za and Kabelo@nhbrc.org.za |  |  |  |  |

PART B

TERMS AND CONDITIONS FOR BIDDING

- BID SUBMISSION:

- QUOTATIONS MUST BE DELIVERED BY THE STIPULATED TIME TO THE CORRECT ADDRESS. LATE QUOTATIONS WILL NOT BE ACCEPTED FOR CONSIDERATION. - ALL QUOTATIONS MUST BE SUBMITTED ON THE OFFICIAL FORMS PROVIDED–(NOT TO BE RE-TYPED) - THIS BID IS SUBJECT TO THE PREFERENTIAL PROCUREMENT POLICY FRAMEWORK ACT AND THE PREFERENTIAL PROCUREMENT REGULATIONS, 2017

- TAX COMPLIANCE REQUIREMENTS

- BIDDERS MUST ENSURE COMPLIANCE WITH THEIR TAX OBLIGATIONS. - BIDDERS ARE REQUIRED TO SUBMIT THEIR UNIQUE PERSONAL IDENTIFICATION NUMBER (PIN) ISSUED BY SARS TO ENABLE THE ORGAN OF STATE TO VIEW THE TAXPAYER’S PROFILE AND TAX STATUS. - APPLICATION FOR THE TAX COMPLIANCE STATUS (TCS) CERTIFICATE OR PIN MAY ALSO BE MADE VIA E-FILING. IN ORDER TO USE THIS PROVISION, TAXPAYERS WILL NEED TO REGISTER WITH SARS AS E-FILERS THROUGH THE WEBSITE WWW.SARS.GOV.ZA. - FOREIGN SUPPLIERS MUST COMPLETE THE PRE-AWARD QUESTIONNAIRE IN PART B: 3. - BIDDERS MAY ALSO SUBMIT A PRINTED TCS CERTIFICATE TOGETHER WITH THE BID. - IN QUOTATIONS WHERE CONSORTIA / JOINT VENTURES / SUB-CONTRACTORS ARE INVOLVED, EACH PARTY MUST SUBMIT A SEPARATE TCS CERTIFICATE / PIN / CSD NUMBER. - WHERE NO TCS IS AVAILABLE BUT THE BIDDER IS REGISTERED ON THE CENTRAL SUPPLIER DATABASE (CSD), A CSD NUMBER MUST BE PROVIDED.

- QUESTIONNAIRE TO BIDDING FOREIGN SUPPLIERS

- IS THE ENTITY A RESIDENT OF THE REPUBLIC OF SOUTH AFRICA (RSA)? YES NO - DOES THE ENTITY HAVE A BRANCH IN THE RSA? YES NO - DOES THE ENTITY HAVE A PERMANENT ESTABLISHMENT IN THE RSA? YES NO - DOES THE ENTITY HAVE ANY SOURCE OF INCOME IN THE RSA? YES NO - IS THE ENTITY LIABLE IN THE RSA FOR ANY FORM OF TAXATION? YES NO IF THE ANSWER IS “NO” TO ALL OF THE ABOVE, THEN IT IS NOT A REQUIREMENT TO REGISTER FOR A TAX COMPLIANCE STATUS SYSTEM PIN CODE FROM THE SOUTH AFRICAN REVENUE SERVICE (SARS) AND IF NOT REGISTER AS PER 2.3 ABOVE.

NB: FAILURE TO PROVIDE ANY OF THE ABOVE PARTICULARS MAY RENDER THE BID INVALID.

NO QUOTATIONS WILL BE CONSIDERED FROM PERSONS IN THE SERVICE OF THE STATE.

SIGNATURE OF BIDDER:

CAPACITY UNDER WHICH THIS BID IS SIGNED:

DATE:

IMPORTANT NOTICE

Bidders should ensure that quotations are sent/submitted timeously in the emailed address provided below. If the bid is late, it will not be accepted for consideration.

Submission of responses to the RFQ must be emailed to Godfreyk@nhbrc.org.za

All quotations must be submitted on the official forms – (not to be re-typed)

TECHNICAL ENQUIRIES

Should you require any further information in this regard, please do not hesitate to contact:

Name: Mr Andile Nyubatya

Office Telephone No.: 011 317 0092

E-mail: Andilen@nhbrc.org.za

## 1. PURPOSE

- National Home Builders Registration Council seeks to appoint a suitable qualified service provider to look after the fire safety systems at its Sunninghill Head Office for 36 months (3 years). This covers:

- Fire detection systems (smoke and heat detectors, control panels, alarms)

- Fire suppression systems (including the gas suppression system in the basement)

- Firefighting equipment (extinguishers, hose reels, hydrants)

- The chosen provider must meet SAQCC standards (and any updated rules or laws that follow).

## 2. SCOPE OF WORK

- Maintenance services of the NHBRC Sunninghill Office fire detection, suppression system, and firefighting equipment.

- Quarterly servicing of fire extinguishers, fire hoses, and fire hydrants.

- Conduct ad-hoc fire detection, suppression system, and firefighting equipment repairs as requested by management on a quotation basis.

- Carry out any additional work over and above the scheduled maintenance service, which NHBRC may require to maintain the sites properly and safely.

- Attendance and reporting at the NHBRC Head Office Facilities meeting every quarter after inspection and service for any significant findings identified during the service and maintenance activities.

- Supply any parts or components that may be required for maintenance purposes, during the period of this agreement. (market-related prices) on a quotation basis.

- If uneconomical to maintain or repair; Supply new fire detection and suppression systems, firefighting equipment units, and items to replace the failed units on critical equipment and buildings. The replacement cost will be solely approved by NHBRC. Further, NHBRC reserves the right to test the market to confirm that the prices submitted are market related.

- Commissioning the new fire detection and suppression system or firefighting equipment unit and providing site acceptance test documents.

- Conduct all necessary repair installations and provide a certificate of compliance when required.

- Provide 36 -month maintenance and guarantee on all new installations and parts supplied.

- NB-appointed contractors should have insurance coverage for liability and workers' compensation.

# 3. QUALITY

- If NHBRC elects to accept an alternative item purported to be equal/similar by the tenderer, acceptance of the items will be conditional on NHBRC’s inspection and testing after receipt.

- If in the sole judgment of NHBRC, the delivered items are determined not to be within SABS/SANS national specifications, the supplier will be requested to replace the items with the items that comply with SABS/SANS national specifications immediately at no additional cost to NHBRC.

- NHBRC may from time to time test the quality of the products and services, and noncompliance may result in the termination of the contract.

- All product items should carry (minimum of 1 year) guarantees or warranties and defective items will be replaced at the cost of the service provider. It will be the responsibility of the service provider to ensure that the products are replaced (Retailers to Manufacturers), where applicable.

# 4. WORK SPECIFIC REQUIREMENTS

NHBRC Fire Maintenance Service Requirements.

The services will include inspection, maintenance, servicing, and repairs when needed of fire extinguishers, gas fire suppression systems, and fire hydrant systems.

# 5. CONTRACTORS’ RESPONSIBILITIES

As the appointed contractor, you'll need to:

- Bring the right people, tools, and equipment — including at least one SAQCC-qualified expert (commissioner-level, for gas suppression and detection).

- Get familiar with the site, its layout, and any constraints before starting work.

- Fully inspect and test every fire extinguisher and tag each one with its service date and next-due date.

- Do service on-site wherever possible.

## Fire Detection System

- Service the system once every 3 months.

- Test it from the indicator panel; inspect and maintain detectors, sensors, and related components.

- Replace any outdated or damaged detectors/components.

- Maintain the control panel and keep evacuation plans/diagrams up to date.

- Test all alarms (including manual call points — each one at least once a year) and, where applicable, the link to the Fire Station.

- Test wiring insulation and inspect/test batteries.

- Flag any site changes that could affect the system's efficiency.

- Send NHBRC a test report after every visit and respond to callouts within half a day.

Fire Extinguishers

- Weigh and record each CO2 cylinder.

- Replace outdated/damaged extinguishers and refill as needed.

- Inspect, test, and lubricate CO2 release mechanisms.

- Reset each unit to working condition after testing and send a report after every visit.

## Gas Fire Suppression System (Basement)

- Inspect, maintain, repair, and test the system.

- Send a test report after every visit.

## Fire Hydrant System

- Inspect, maintain, repair, and test the hydrant system.

- Send a test report after every visit.

- Service providers must adhere to the SLA agreement including response time especially corrective faults logged.

- The service provider will be required to provide minimal/basic training around fire panels, basic use of fire extinguishers, and other basic related firefighting equipment.

# 6. OBLIGATIONS OF NHBRC

- Make sure the fire installations are used sensibly.

- Tell you right away if a fault appears.

- Let you know about any changes in occupancy, ownership, or postal address.

- Cover any legally required taxes, fees, or duties related to the installation.

- Make sure your team always has free, unobstructed access to the equipment.

7.1.  Annexure A: - Pricing Schedule

7.2. Annexure B: - Separate Cost breakdown

7.3. Annexure C: - Cost Breakdown for NHBRC Sunninghill.

## 7.1. ANNEXURE A: PRICING SCHEDULE.

Bidders are required to complete and must comply with all Annexure A- below

| Location | Description | Qty | Rate per unit | Total Cost |
| --- | --- | --- | --- | --- |
| Basement, Ground Floor, 1st Floor, 2nd Floor and 3rd Floor | 4,5 Kg STP Fire Extinguisher | 64 | R | R |
| Basement, Ground Floor, 1st Floor, 2nd Floor and 3rd Floor | 9 Kg STP Fire Extinguisher | 32 | R | R |
| Basement, Ground Floor, 1st Floor, 2nd Floor and 3rd Floor | 2 Kg Co2 Fire Extinguisher | 14 | R | R |
| Basement, Ground Floor, 1st Floor, 2nd Floor and 3rd Floor | 5 Kg Co2 Fire Extinguisher | 11 | R | R |
| Basement, Ground Floor, 1st Floor, 2nd Floor and 3rd Floor | Fire Hydrant | 6 | R | R |
| Basement, Ground Floor, 1st Floor, 2nd Floor and 3rd Floor | Hose Reel | 14 | R | R |
| Basement, Ground Floor, 1st Floor, 2nd Floor and 3rd Floor | Red Glass Break | 16 | R | R |
| Basement, Ground Floor, 1st Floor, 2nd Floor and 3rd Floor | Green Glass Break | 12 | R | R |
| Basement, Ground Floor, 1st Floor, 2nd Floor and 3rd Floor | Smoke Detectors | 185 | R | R |
| Basement, Ground Floor, 1st Floor, 2nd Floor and 3rd Floor | Strobe Light | `41 | R | R |
| Ground Floor | Control Panel (Techno Switch) | 1 | R | R |
| Basement | Control Panel (Ziton) | 1 | R | R |
| Basement | Gas Suppression Cylinder | 1 | R | R |
| Basement | Gas Suppression Nozzle | 1 | R | R |
| Parking Lot | Supply and install 4 new extinguisher cabinets, each with a new 9 kg unit | 4 | R | R |
| Sub Total |  |  |  | R |
| VAT @ 15% |  |  |  | R |
| Total |  |  |  | R |

### 7.2. ANNEXURE B: SEPARATE COST BREAKDOWN

PLEASE PROVIDE SEPARATE COST BREAKDOWN FOR THE REPLACEMENT, REFILLING AND REPAIR ITEMS:

NB: BIDDERS MUST TAKE NOTE THAT THE PRICE LIST MUST INCLUDE A SIGNATURE.  IF THERE IS NO SIGNATURE (NOT INITIALS) ON THE COST BREAKDOWN, THE BIDDER WILL BE DISQUALIFIED.

|  | REQUIRED ITEMS | QTY | REPLACEMENT PRICE | REFILLING, TESTING, REPAIR RATE PER UNIT |
| --- | --- | --- | --- | --- |
| B1 | 4,5 Kg STP Fire Extinguisher | 1 | R | R |
| B2 | 9 Kg STP Fire Extinguisher | 1 | R | R |
| B3 | 2 Kg Co2 Fire Extinguisher | 1 | R | R |
| B4 | 5 Kg Co2 Fire Extinguisher | 1 | R | R |
| B5 | Fire Hydrant | 1 | R | R |
| B6 | Hose Reel | 1 | R | R |
| B7 | Red Glass Break | 1 | R | R |
| B8 | Green Glass Break | 1 | R | R |
| B9 | Smoke Detectors | 1 | R | R |
| B10 | Strobe Light | `1 | R | R |
| B11 | Control Panel (Techno Switch) | 1 | R | R |
| B12 | Control Panel (Ziton) | 1 | R | R |
| B13 | Gas Suppression Cylinder | 1 | R | R |
| B14 | Gas Suppression Nozzle | 1 | R | R |
| B15 | Supply and install F5, F30, F39, F40 signs | 4 | R | R |
| Sub Total |  |  | R | R |
| VAT @ 15% |  |  | R | R |
| Total |  |  | R | R |

## 7.3. ANNEXURE – C – COST BREAKDOWN (SUNNINGHILL OFFICE)

The table below MUST be established in line with the services as outlined in page 7 and 10 of this document.

| YEAR | SERVICE DESCRIPTION |  |  |  | PRICE QUARTERLY |  | TOTAL COST PER YEAR |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Year 1 | Required Services as listed in Annexure A (NHBRC Sunninghill office) |  |  |  | R |  | R |
| Year 2 | Required Services as listed in Annexure A (NHBRC Sunninghill office) |  |  |  | R |  | R |
| Year 3 | Required Services as listed in Annexure A (NHBRC Sunninghill office) |  |  |  | R |  | R |
| TOTAL COSTS FOR 3 YEARS (EXCL VAT) |  |  |  |  |  | R |  |
| TOTAL COSTS FOR 3 YEARS (INCL VAT) |  |  |  |  |  | R |  |
| Bidder Signature (Not Initials) |  | Date |

# 8. AD-HOC REPAIRS SERVICES

Suppliers are to provide AD-HOC (As and when required) service costing table containing call out rate, repair hourly rates, and travel rates per kilo at any listen NHBRC site as required (Costs

must be VAT inclusive).

| Normal Hours | Repairs hours within Normal Time (Labour Hourly Rate) 07:30 – 16:00 (VAT Inclusive) | R |
| --- | --- | --- |
| After Hours (Overtime) | Fire Suppression Systems Repairs Outside Normal Time (Labour Hourly Rate) After 16:00 (VAT Inclusive) | R |
| Saturday | Fire Suppression Systems Repairs on Sat (Labour Hourly Rate) (VAT Inclusive) | R |
| Holidays / Sundays | Fire Suppression Systems Repairs P/H & Sundays (Labour Hourly Rate) (VAT Inclusive) | R |
| Travelling Rates | The cost of all travelling (Rate/Kilometre) | R |
| TOTAL (Vat inclusive) |  | R |

# 9. MANDATORY REQUIREMENTS

NB: FAILURE TO SUBMIT ALL OF THESE DOCUMENTS WILL RESULT ON YOUR QUOTATION BEING DISQUALIFIED.

| # | Mandatory Requirement |
| --- | --- |
| 1 | Three (3) reference letters for similar previous work, on the client's letterhead, signed, less than 5 years old — include scope of work, contract length, and a contactable person's name, number and title. |
| 2 | Proof of membership of Fire Fighting Equipment Traders Association (FFETA) or a valid SANS 1475 permit and be registered with one of the accredited bodies (BSI, SABS, or SACAS) approved by the Department of Labour. |
| 3 | Proof of at least 1 commissioner expert who is registered with SAQCC to support the fire detection and suppression service team |
| 4 | Valid CIDB registration, grade 2SF or higher, with supporting certificate. |

## SBD 6.1 PREFERENCE SCHEDULE

PREFERENCE POINTS CLAIM FORM IN TERMS OF THE PREFERENTIAL PROCUREMENT REGULATIONS 2022

PRICE QUOTATION PROCESS (UP TO R 1 MILLION)

This preference form must form part of all tenders invited.  It contains general information and serves as a claim form for preference points for specific goals.

NB:	BEFORE COMPLETING THIS FORM, TENDERERS MUST STUDY THE GENERAL CONDITIONS, DEFINITIONS AND DIRECTIVES APPLICABLE IN RESPECT OF THE TENDER AND PREFERENTIAL PROCUREMENT REGULATIONS, 2022

- GENERAL CONDITIONS

  - The following preference point systems are applicable to invitations to tender:

- the 80/20 system for requirements with a Rand value of up to R50 000 000 (all applicable taxes included); and

  - To be completed by the organ of state-

- The applicable preference point system for this tender is the 80/20 preference point system.

- 80/20 preference point system will be applicable in this tender. The lowest/ highest acceptable tender will be used to determine the accurate system once tenders are received.

  - Points for this tender (even in the case of a tender for income-generating contracts) shall be awarded for:

- Price; and

- Specific Goals.

  - To be completed by the organ of state:

The maximum points for this tender are allocated as follows:

|  | POINTS |
| --- | --- |
| PRICE | 80 |
| SPECIFIC GOALS | 20 |
| Total points for Price and SPECIFIC GOALS | 100 |

  - Failure on the part of a tenderer to submit proof or documentation required in terms of this tender to claim points for specific goals with the tender, will be interpreted to mean that preference points for specific goals are not claimed.

  - The organ of state reserves the right to require of a tenderer, either before a tender is adjudicated or at any time subsequently, to substantiate any claim in regard to preferences, in any manner required by the organ of state.

  - Bidders who wish to claim points in terms of table 4.2 below need to provide proof for each point claimed as guided below:

- Who is female- attach certified copy of identity document (ID) and company registration document / CSD report to show/ substantiate percentage ownership equity.

- Who is youth - attach certified copy of identity document (ID) and company registration document / CSD report to show/ substantiate percentage ownership equity.

- Who has a disability – attach doctor’s letter confirming the disability

- DEFINITIONS

- “tender” means a written offer in the form determined by an organ of state in response to an invitation to provide goods or services through price quotations, competitive tendering process or any other method envisaged in legislation;

- “price” means an amount of money tendered for goods or services, and includes all applicable taxes less all unconditional discounts;

- “rand value” means the total estimated value of a contract in Rand, calculated at the time of bid invitation, and includes all applicable taxes;

- “tender for income-generating contracts” means a written offer in the form determined by an organ of state in response to an invitation for the origination of income-generating contracts through any method envisaged in legislation that will result in a legal agreement between the organ of state and a third party that produces revenue for the organ of state, and includes, but is not limited to, leasing and disposal of assets and concession contracts, excluding direct sales and disposal of assets through public auctions; and

- “the Act” means the Preferential Procurement Policy Framework Act, 2000 (Act No. 5 of 2000).

- FORMULAE FOR PROCUREMENT OF GOODS AND SERVICES

  - POINTS AWARDED FOR PRICE

    - THE 80/20 OR 90/10 PREFERENCE POINT SYSTEMS

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	or	90/10

# Ps=801-Pt-PminPmin	or	Ps=901-Pt-PminPmin

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmin	=	Price of lowest acceptable tender

- FORMULAE FOR DISPOSAL OR LEASING OF STATE ASSETS AND INCOME GENERATING PROCUREMENT

  - POINTS AWARDED FOR PRICE

A maximum of 80 or 90 points is allocated for price on the following basis:

# 80/20	               or	            90/10

Ps=801+Pt-PmaxPmax	or	Ps=901+Pt-PmaxPmax

Where

Ps	=	Points scored for price of tender under consideration

Pt	=	Price of tender under consideration

Pmax	=	Price of highest acceptable tender

- POINTS AWARDED FOR SPECIFIC GOALS

  - In terms of Regulation 4(2); 5(2); 6(2) and 7(2) of the Preferential Procurement Regulations, preference points must be awarded for specific goals stated in the tender. For the purposes of this tender the tenderer will be allocated points based on the goals stated in table 1 below as may be supported by proof/ documentation stated in the conditions of this tender:

  - In cases where organs of state intend to use Regulation 3(2) of the Regulations, which states that, if it is unclear whether the 80/20 or 90/10 preference point system applies, an organ of state must, in the tender documents, stipulate in the case of—

- an invitation for tender for income-generating contracts, that either the 80/20 or 90/10 preference point system will apply and that the highest acceptable tender will be used to determine the applicable preference point system; or

- any other invitation for tender, that either the 80/20 or 90/10 preference point system will apply and that the lowest acceptable tender will be used to determine the applicable preference point system,  then the organ of state must indicate the points allocated for specific goals for both the 90/10 and 80/20 preference point system.

Table 1: Specific goals for the tender and points claimed are indicated per the table below.

(Note to organs of state: Where either the 90/10 or 80/20 preference point system is applicable, corresponding points must also be indicated as such.

Note to tenderers: The tenderer must indicate how they claim points for each preference point system.)

| The specific goals allocated points in terms of this tender | Number of points allocated (80/20 system) | Percentage ownership equity (To be completed by the tenderer) | Number of points claimed (80/20 system) (To be completed by the tenderer) |
| --- | --- | --- | --- |
| - Women owned companies | 12 |  |  |
| - Youth owned companies | 6 |  |  |
| - People living with disabilities owned companies | 2 |  |  |

The following formula will be applied to calculate the number of points for preference points:

NEP = NOP x EP100

Where

NEP = Points awarded for equity ownership Preference Points

NOP= The maximum number of points awarded for Preference Points

EP = The percentage of equity ownership

DECLARATION WITH REGARD TO COMPANY/FIRM

  - Name of company/firm…………………………………………………………………….

  - Company registration number: …………………………………………………………...

  - TYPE OF COMPANY/ FIRM

Partnership/Joint Venture / Consortium

One-person business/sole propriety

Close corporation

Public Company

Personal Liability Company

(Pty) Limited

Non-Profit Company

State Owned Company

[Tick applicable box]

  - I, the undersigned, who is duly authorised to do so on behalf of the company/firm, certify that the points claimed, based on the specific goals as advised in the tender, qualifies the company/ firm for the preference(s) shown and I acknowledge that:

- The information furnished is true and correct;

- The preference points claimed are in accordance with the General Conditions as indicated in paragraph 1 of this form;

- In the event of a contract being awarded as a result of points claimed as shown in paragraphs 1.4 and 4.2, the contractor may be required to furnish documentary proof to the satisfaction of the organ of state that the claims are correct;

- If the specific goals have been claimed or obtained on a fraudulent basis or any of the conditions of contract have not been fulfilled, the organ of state may, in addition to any other remedy it may have –

  - disqualify the person from the tendering process;

  - recover costs, losses or damages it has incurred or suffered as a result of that person’s conduct;

  - cancel the contract and claim any damages which it has suffered as a result of having to make less favourable arrangements due to such cancellation;

  - recommend that the tenderer or contractor, its shareholders and directors, or only the shareholders and directors who acted on a fraudulent basis, be restricted from obtaining business from any organ of state for a period not exceeding 10 years, after the audi alteram partem (hear the other side) rule has been applied; and

  - forward the matter for criminal prosecution, if deemed necessary.

……………………………………….

SIGNATURE(S) OF TENDERER(S)

SURNAME AND NAME:	 ……………………………………………………….

DATE:			………………………………………………………

ADDRESS:		………………………………………………………

………………………………………………………

………………………………………………………

………………………………………………………

## BIDDER’S DISCLOSURE (SBD4)

- PURPOSE OF THE FORM

Any person (natural or juristic) may make an offer or offers in terms of this invitation to bid. In line with the principles of transparency, accountability, impartiality, and ethics as enshrined in the Constitution of the Republic of South Africa and further expressed in various pieces of legislation, it is required for the bidder to make this declaration in respect of the details required hereunder.

Where a person/s are listed in the Register for Tender Defaulters and / or the List of Restricted Suppliers, that person will automatically be disqualified from the bid process.

- Bidder’s declaration

2.1 	Is the bidder, or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise,

employed by the state?						YES/NO

2.1.1	If so, furnish particulars of the names, individual identity numbers, and, if applicable, state employee numbers of sole proprietor/ directors / trustees / shareholders / members/ partners or any person having a controlling interest in the enterprise, in table below.

| Full Name | Identity Number | Name of State institution |
| --- | --- | --- |

2.2	Do you, or any person connected with the bidder, have a relationship with any person who is employed by the procuring institution? YES/NO

2.2.1     If so, furnish particulars:

……………………………………………………………………………………

……………………………………………………………………………………

2.3 	Does the bidder or any of its directors / trustees / shareholders / members / partners or any person having a controlling interest in the enterprise have any interest in any other related enterprise whether or not they are bidding for this contract?				YES/NO

    - If so, furnish particulars:

…………………………………………………………………………….

…………………………………………………………………………….

- DECLARATION

I, the undersigned, (name)……………………………………………………………………. in submitting the accompanying bid, do hereby make the following statements that I certify to be true and complete in every respect:

3.1 	I have read and I understand the contents of this disclosure;

3.2	I understand that the accompanying bid will be disqualified if this disclosure is found not to be true and complete in every respect;

3.3 	The bidder has arrived at the accompanying bid independently from, and without consultation, communication, agreement or arrangement with any competitor. However, communication between partners in a joint venture or consortium will not be construed as collusive bidding.

3.4 	In addition, there have been no consultations, communications, agreements or arrangements with any competitor regarding the quality, quantity, specifications, prices, including methods, factors or formulas used to calculate prices, market allocation, the intention or decision to submit or not to submit the bid, bidding with the intention not to win the bid and conditions or delivery particulars of the products or services to which this bid invitation relates.

3.4	The terms of the accompanying bid have not been, and will not be, disclosed by the bidder, directly or indirectly, to any competitor, prior to the date and time of the official bid opening or of the awarding of the contract.

3.5 	There have been no consultations, communications, agreements or arrangements made by the bidder with any official of the procuring institution in relation to this procurement process prior to and during the bidding process except to provide clarification on the bid submitted where so required by the institution; and the bidder was not involved in the drafting of the specifications or terms of reference for this bid.

  - I am aware that, in addition and without prejudice to any other remedy provided to combat any restrictive practices related to quotations  and contracts, quotations  that are suspicious will be reported to the Competition Commission for investigation and possible imposition of administrative penalties in terms of section 59 of the Competition Act No 89 of 1998 and or may be reported to the National Prosecuting Authority (NPA) for criminal investigation and or may be restricted from conducting business with the public sector for a period not exceeding ten (10) years in terms of the Prevention and Combating of Corrupt Activities Act No 12 of 2004 or any other applicable legislation.

I CERTIFY THAT THE INFORMATION FURNISHED IN PARAGRAPHS 1, 2 and 3 ABOVE IS CORRECT.

I ACCEPT THAT THE STATE MAY REJECT THE BID OR ACT AGAINST ME IN TERMS OF PARAGRAPH 6 OF PFMA SCM INSTRUCTION 03 OF 2021/22 ON PREVENTING AND COMBATING ABUSE IN THE SUPPLY CHAIN MANAGEMENT SYSTEM SHOULD THIS DECLARATION PROVE TO BE FALSE.

………………………………	 ..……………………………………………

Signature	                          Date

………………………………	………………………………………………

Position 	Name of bidder

SBD 7.2

# CONTRACT FORM - RENDERING OF SERVICES

THIS FORM MUST BE FILLED IN DUPLICATE BY BOTH THE SERVICE PROVIDER (PART 1) AND THE PURCHASER (PART 2).  BOTH FORMS MUST BE SIGNED IN THE ORIGINAL SO THAT THE SERVICE PROVIDER AND THE PURCHASER WOULD BE IN POSSESSION OF ORIGINALLY SIGNED CONTRACTS FOR THEIR RESPECTIVE RECORDS.

# PART 1 (TO BE FILLED IN BY THE SERVICE PROVIDER)

- I hereby undertake to render services described in the attached bidding documents to (name of the institution)……………………………………. in accordance with the requirements and task directives / proposals specifications stipulated in Bid Number………….……….. at the price/s quoted.  My offer/s remain binding upon me and open for acceptance by the Purchaser during the validity period indicated and calculated from the closing date of the bid.

- The following documents shall be deemed to form and be read and construed as part of this agreement:

- Bidding documents, viz

- Invitation to bid;

- Pricing schedule(s);

- Filled in task directive/proposal;

- Preference claims for Broad Based Black Economic Empowerment Status Level of Contribution in terms of the Preferential Procurement Regulations 2017;

- Declaration of interest;

- Declaration of Bidder’s past SCM practices;

- Certificate of Independent Bid Determination;

- General Conditions of Contract; and

- Other (specify)

- I confirm that I have satisfied myself as to the correctness and validity of my bid; that the price(s) and rate(s) quoted cover all the services specified in the bidding documents; that the price(s) and rate(s) cover all my obligations and I accept that any mistakes regarding price(s) and rate(s) and calculations will be at my own risk.

- I accept full responsibility for the proper execution and fulfilment of all obligations and conditions devolving on me under this agreement as the principal liable for the due fulfillment of this contract.

- I declare that I have no participation in any collusive practices with any bidder or any other person regarding this or any other bid.

- I confirm that I am duly authorised to sign this contract.

WITNESSES

- …….……………………………

- ……….…………………………

DATE:	……………………………..

NAME (PRINT)		…………………………….

CAPACITY		…………………………….

SIGNATURE		…………………………….

NAME OF FIRM		…………………………….

DATE			…………………………….

SBD 7.2

CONTRACT FORM - RENDERING OF SERVICES

# PART 2 (TO BE FILLED IN BY THE PURCHASER)

- I……………………………………………. in my capacity as……………………...…………………………

accept your bid under reference number ………………dated………………………for the rendering of services indicated hereunder and/or further specified in the annexure(s).

- An official order indicating service delivery instructions is forthcoming.

- I undertake to make payment for the services rendered in accordance with the terms and conditions of the contract, within 30 (thirty) days after receipt of an invoice.

| ## DESCRIPTION OF ## SERVICE | PRICE (ALL APPLICABLE TAXES INCLUDED) | COMPLETION DATE | B-BBEE STATUS LEVEL OF CONTRIBUTION |
| --- | --- | --- | --- |

4.	I confirm that I am duly authorised to sign this contract.

SIGNED AT ………………………………………     ON       ………………………………..

NAME (PRINT)	………………………………………….

SIGNATURE		…………………………………………

WITNESSES

- ….…………………………….

- …..…………………………….

DATE:	……………………………..

OFFICIAL STAMP

the power, by one person or a group of persons holding the majority of the equity of an enterprise, alternatively, the person/s having the deciding vote or power to influence or to direct the course and decisions of the enterprise.

Joint venture or Consortium means an association of persons for the purpose of combining their expertise, property, capital, efforts, skill and knowledge in an activity for the execution of a contract.